Surface Water Drainage Report

It is acceptable and advisable to connect to the 225mm surface water sewer along Moreen Avenue.

It is also noted that our records show two sewer pipes at the west edge of this site (which do not interfere with the proposal).

Corporate Services Report

There are no ownership issues. The Council have full freehold title to the site and can construct social or affordable housing or whatever on it. there are no legal inhibitions preventing the development. Folio17791 No problems.

Libraries

I wish to put on the record that I have no objection to this proposal.

Parks Department

I have no issue.

Housing Department

Development looks very good.  Proceed to Part 8.

Planning Department

Yes we are happy that it can progress to Part 8.

Transportation Department

The width of the proposed new vehicular entrance shall be a maximum of 3.5 metres and the footpath including grass verge in front of the proposed vehicular entrance shall be dished and strengthened at the Applicant's own expense including any moving / adjustment of any water cock and all to the satisfaction of the appropriate utility company and Planning Authority. With regards to the dishing and strengthening of the footpath including grass verge the Applicants shall contact the Road Maintenance & Control Section to ascertain the required specifications for such works.

The new front boundary wall, piers and gate shall match the existing boundary heights to maintain pedestrian visibility.

The Applicant shall ensure that the height of the boundary treatment for a minimum distance of 1.0m either side of the proposed new vehicular entrance be no more than 1.1m so as to provide good visibility for pedestrians and vehicles of exiting vehicles and vice versa from the said vehicular entrance. The proposed height of the gates and piers shall also be a maximum of 1.1m.

The driveway/car parking area shall be constructed in accordance with sustainable urban drainage systems (SuDS) and also prevent the discharge of surface water onto the public road.

The Applicants shall prevent any mud, dirt, debris or building material being carried onto or placed on the public road or adjoining property(s) as a result of the site construction works and repair any damage to the public road arising from carrying out the works.

Environmental Services

No specific comments. Household waste collection is undertaken by the private sector.  There is only a general [Planning/Building]  requirement that there is adequate bin storage and access for presentation and collection.